| # DIAMCALC ILLUSTRATED REPORT |  |  |  |  |  |  |  |  |  |  |  |  |  | Parameter |  |  | Avg |  | Min |  |  |  |  | Max |  |  |  | Dev |  |  |  |  |  | Cut |  |  | Sym |  |  |  | 1 | 2 | 3 |  | 4 |  | 5 |  | 6 | 7 |  | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Polished Brilliant |  |  |  |  |  |  |  |  |  |  |  |  |  | Diameter, mm |  |  | 5.848 |  | 5.833 |  |  |  |  | 5.862 |  |  |  | 0.50% |  |  |  |  |  | N/A |  |  | EX |  |  |  | 5.860 | 5.841 | 5.844 |  | 5.856 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Crown angle, ° |  |  | 34.39 |  | 34.27 |  |  |  |  | 34.52 |  |  |  | 0.25 |  |  |  |  |  | N/A |  |  | EX |  |  |  | 34.41 | 34.36 | 34.38 |  | 34.51 |  | 34.38 |  | 34.27 | 34.28 |  | 34.52 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion angle, ° |  |  | 41.75 |  | 41.59 |  |  |  |  | 41.88 |  |  |  | 0.30 |  |  |  |  |  | N/A |  |  | EX |  |  |  | 41.66 | 41.69 | 41.73 |  | 41.77 |  | 41.80 |  | 41.88 | 41.85 |  | 41.59 |
| Model |  |  | St1 - Sarin |  |  |  |  |  |  |  |  |  |  | Total height, % |  |  | 62.11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | N/A |  |  | - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Expert name |  |  |  |  |  |  |  |  |  |  |  |  |  | Crown height, % |  |  | 14.80 |  | 14.53 |  |  |  |  | 15.09 |  |  |  | 0.56 |  |  |  |  |  | N/A |  |  | EX |  |  |  | 14.64 | 14.53 | 14.88 |  | 15.09 |  | 15.07 |  | 14.90 | 14.60 |  | 14.67 |
| Report date |  |  | 10.12.2007 |  |  |  |  |  |  |  |  |  |  | Pavilion depth, % |  |  | 44.53 |  | 44.17 |  |  |  |  | 45.14 |  |  |  | 0.97 |  |  |  |  |  | N/A |  |  | VG |  |  |  | 45.14 | 44.62 | 44.38 |  | 44.17 |  | 44.18 |  | 44.37 | 44.64 |  | 44.75 |
| Real weight, ct |  |  |  |  |  |  |  |  |  |  |  |  |  | Table, % |  |  | 56.75 |  | 56.59 |  |  |  |  | 56.92 |  |  |  | 0.33 |  |  |  |  |  | N/A |  |  | EX |  |  |  | 56.92 | 56.59 | 56.73 |  | 56.77 |  |  |  |  |  |  |  |
| Calculated weight, ct |  |  | 0.75, 0.7486 |  |  |  |  |  |  |  |  |  |  | Culet, % |  |  | N/A |  | 0.03 |  |  |  |  | 0.22 |  |  |  | 0.19 |  |  |  |  |  | N/A |  |  | EX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Measurements, mm |  |  | 5.848 (5.833-5.862) x 3.632 /0.005 |  |  |  |  |  |  |  |  |  |  | Girdle Bezel, % |  |  | 2.79 |  | 2.38 |  |  |  |  | 2.96 |  |  |  | 0.57 |  |  |  |  |  | E |  |  | EX |  |  |  | 2.38 | 2.96 | 2.89 |  | 2.85 |  | 2.86 |  | 2.84 | 2.88 |  | 2.69 |
| Spread |  |  | -0.01 ct, -1.29% |  |  |  |  |  |  |  |  |  |  | Girdle Bone, % |  |  | 3.21 |  | 2.94 |  |  |  |  | 3.45 |  |  |  | 0.50 |  |  |  |  |  | - |  |  | EX |  |  |  | 3.16 | 3.15 | 3.25 |  | 3.27 |  | 2.94 |  | 3.45 | 3.23 |  | 3.21 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle Valley, % |  |  | 1.40 |  | 1.19 |  |  |  |  | 1.70 |  |  |  | 0.51 |  |  |  |  |  | N/A |  |  | EX |  |  |  | 1.40 | 1.48 | 1.41 |  | 1.55 |  | 1.30 |  | 1.44 | 1.46 |  | 1.19 |
| Average values, mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.39 | 1.25 | 1.27 |  | 1.56 |  | 1.70 |  | 1.31 | 1.44 |  | 1.31 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Star: |  |  | 55.31: |  | 52.56: |  |  |  |  | 56.88: |  |  |  | 4.32 |  |  |  |  |  | - |  |  | - |  |  |  | 55.24: | 55.78: | 52.56: |  | 54.13: |  | 55.82: |  | 56.88: | 56.09: |  | 56.03: |
| Total height | Crown height | Pavilion depth |  | Table |  |  | Culet | Girdle |  |  |  |  |  | Upper ratio, % |  |  | 44.69 |  | 47.44 |  |  |  |  | 43.12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 44.76 | 44.22 | 47.44 |  | 45.87 |  | 44.18 |  | 43.12 | 43.91 |  | 43.97 |
|  |  |  |  |  |  |  |  | Bezel | Bone | Valley |  |  |  | Star angle, ° |  |  | 22.54 |  | 22.15 |  |  |  |  | 22.87 |  |  |  | 0.72 |  |  |  |  |  |  |  |  | EX |  |  |  | 22.29 | 22.15 | 22.41 |  | 22.69 |  | 22.73 |  | 22.87 | 22.72 |  | 22.46 |
| 3.632 | 0.865 | 2.604 |  | 3.319 |  |  | N/A | 0.163 | 0.188 | 0.082 |  |  |  | Upper girdle angle, ° |  |  | 41.14 |  | 40.22 |  |  |  |  | 41.93 |  |  |  | 1.71 |  |  |  |  |  | - |  |  | VG |  |  |  | 41.25 | 41.45 | 41.93 |  | 41.64 |  | 41.01 |  | 41.04 | 41.09 |  | 41.04 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 41.47 | 41.11 | 40.22 |  | 41.27 |  | 40.71 |  | 41.03 | 40.91 |  | 41.11 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Lower girdle angle / Halves angle, ° |  |  | 42.70 |  | 42.45 |  |  |  |  | 42.96 |  |  |  | 0.51 |  |  |  |  |  | - |  |  | EX |  |  |  | 42.45 | 42.60 | 42.61 |  | 42.69 |  | 42.55 |  | 42.69 | 42.85 |  | 42.86 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 42.90 | 42.96 | 42.80 |  | 42.86 |  | 42.68 |  | 42.66 | 42.49 |  | 42.51 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Twist, ° |  |  | 0.78 |  | 0.03 |  |  |  |  | 1.42 |  |  |  | 1.39 |  |  |  |  |  | - |  |  | VG |  |  |  | 1.29 | 0.81 | 0.16 |  | 0.56 |  | 0.76 |  | 0.03 | 1.42 |  | 1.19 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Crown height, mm |  |  | 0.865 |  | 0.850 |  |  |  |  | 0.882 |  |  |  | 0.033 |  |  |  |  |  | - |  |  | - |  |  |  | 0.856 | 0.850 | 0.870 |  | 0.882 |  | 0.882 |  | 0.871 | 0.854 |  | 0.858 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion depth, mm |  |  | 2.604 |  | 2.583 |  |  |  |  | 2.640 |  |  |  | 0.057 |  |  |  |  |  | - |  |  | - |  |  |  | 2.640 | 2.610 | 2.596 |  | 2.583 |  | 2.584 |  | 2.595 | 2.611 |  | 2.617 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Table, mm |  |  | 3.319 |  | 3.310 |  |  |  |  | 3.329 |  |  |  | 0.019 |  |  |  |  |  | - |  |  | - |  |  |  | 3.329 | 3.310 | 3.317 |  | 3.320 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Culet, mm |  |  | N/A |  | 0.002 |  |  |  |  | 0.013 |  |  |  | 0.011 |  |  |  |  |  | - |  |  | - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle Bezel, mm |  |  | 0.163 |  | 0.139 |  |  |  |  | 0.173 |  |  |  | 0.034 |  |  |  |  |  | - |  |  | - |  |  |  | 0.139 | 0.173 | 0.169 |  | 0.167 |  | 0.167 |  | 0.166 | 0.168 |  | 0.157 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle Bone, mm |  |  | 0.188 |  | 0.172 |  |  |  |  | 0.202 |  |  |  | 0.029 |  |  |  |  |  | - |  |  | - |  |  |  | 0.185 | 0.184 | 0.190 |  | 0.191 |  | 0.172 |  | 0.202 | 0.189 |  | 0.187 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle Valley, mm |  |  | 0.082 |  | 0.070 |  |  |  |  | 0.099 |  |  |  | 0.030 |  |  |  |  |  | - |  |  | - |  |  |  | 0.082 | 0.086 | 0.082 |  | 0.091 |  | 0.076 |  | 0.084 | 0.085 |  | 0.070 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0.081 | 0.073 | 0.074 |  | 0.091 |  | 0.099 |  | 0.077 | 0.084 |  | 0.077 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Measurement as per OctoNus theory: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Crown angle, ° |  |  | 34.39 |  | 34.32 |  |  |  |  | 34.51 |  |  |  | 0.20 |  |  |  |  |  | - |  |  | - |  |  |  | 34.40 | 34.32 | 34.33 |  | 34.51 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion angle, ° |  |  | 41.75 |  | 41.68 |  |  |  |  | 41.79 |  |  |  | 0.11 |  |  |  |  |  | - |  |  | - |  |  |  | 41.73 | 41.79 | 41.79 |  | 41.68 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Fish eye effect, ° |  |  |  |  |  |  |  |  |  |  | 12.24 |  |  |  |  |  |  |  |  | N/A |  |  | - |  |  |  | Extra Facet / Nat |  |  |  |  | No |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Culet through Crown Bezel, ° |  |  |  |  |  |  |  |  |  |  | 9.94 |  |  |  |  |  |  |  |  | N/A |  |  | - |  |  |  | Girdle to MIC, mm |  |  |  |  | 0.005 |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Parameter, ° |  |  |  |  |  |  | 1 |  | 2 |  |  |  | 3 |  | 4 |  |  | 5 |  |  | 6 | 7 |  | 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Pav. azimuths deviation from ideal |  |  |  |  |  |  | 0.00 |  | -2.06 |  |  |  | -0.27 |  | -0.73 |  |  | -0.35 |  |  | -1.02 | 0.27 |  | 0.32 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Crown azimuths deviation from ideal |  |  |  |  |  |  | -1.29 |  | -1.25 |  |  |  | -0.43 |  | -1.29 |  |  | -1.11 |  |  | -0.99 | -1.14 |  | -0.87 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Crown painting |  |  |  |  |  |  | -0.63 |  | -1.36 |  |  |  | 0.11 |  | -0.58 |  |  | -0.73 |  |  | -1.43 | -0.04 |  | -1.34 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0.08 |  | -0.95 |  |  |  | -2.12 |  | -1.57 |  |  | -1.43 |  |  | -1.79 | -1.99 |  | -1.79 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion painting |  |  |  |  |  |  | -2.40 |  | -1.32 |  |  |  | -0.17 |  | 0.21 |  |  | -1.87 |  |  | -0.83 | 0.06 |  | -0.00 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.63 |  | -0.42 |  |  |  | -0.06 |  | 0.03 |  |  | -1.26 |  |  | 1.20 | -1.27 |  | -0.75 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Appraiser title |  |  |  |  | GIA_PCT_2006 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Overall cut quality |  |  |  |  | V |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Overall symmetry quality |  |  |  |  | GD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Symmetry |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Polish |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Color |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle center |  |  |  |  |  | Culet center |  |  |  |  |  |  |  |  |  |  | Тable center |  |  |  |  |  |  |  | Paint / Dug |  |  | Avg |  |  |  | Max |  |  | Type |  |
| Clarity |  |  |  |  |  |  |  |  |  |  |  |  |  | Offset by table axis |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Crown, ° |  |  | -1.10 |  |  |  | -2.12 |  |  | Painting |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle-Culet |  |  |  | 0.55 ± 0.21, % |  |  |  |  |  |  |  |  |  |  |  |  | 0.032 ± 0.012, mm |  |  |  |  |  |  |  |  |  | Crown, notches |  |  | 0.3, Very small |  |  |  | 0.6 |  |  |  |  |
| Fluorescence |  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle-Table |  |  |  | 0.48 ± 0.18, % |  |  |  |  |  |  |  |  |  |  |  |  | 0.028 ± 0.011, mm |  |  |  |  |  |  |  |  |  | Pavilion, ° |  |  | -0.45 |  |  |  | -2.40 |  |  | Painting |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Table-Culet |  |  |  | 1.02 ± 0.23, % |  |  |  |  |  |  |  |  |  |  |  |  | 0.060 ± 0.013, mm |  |  |  |  |  |  |  |  |  | Pavilion, notches |  |  | 0.1, Very small |  |  |  | 0.6 |  |  |  |  |