| # ILLUSTRATED REPORT FOR BRILLIANT |  |  |  |  |  |  |  |  |  |  |  |  | Parameter |  |  | Avg |  |  | Min |  |  |  | Max |  |  |  |  | Dev |  |  |  |  | Cut |  |  | Sym |  |  |  | 1 | 2 |  | 3 | 4 |  |  | 5 |  |  | 6 |  | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Polished Brilliant |  |  |  |  |  |  |  |  |  |  |  |  | Diameter, mm |  |  | 5.821 |  |  | 5.817 |  |  |  | 5.826 |  |  |  |  | 0.14% |  |  |  |  | E |  |  | EX |  |  |  | 5.822 | 5.821 |  | 5.820 | 5.819 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Crown angle, ° |  |  | 34.55 |  |  | 34.38 |  |  |  | 34.71 |  |  |  |  | 0.33 |  |  |  |  | Grading |  |  | EX |  |  |  | 34.51 | 34.38 |  | 34.40 | 34.58 |  |  | 34.63 |  |  | 34.71 |  | 34.62 | 34.55 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion angle, ° |  |  | 40.73 |  |  | 40.60 |  |  |  | 40.94 |  |  |  |  | 0.34 |  |  |  |  | Grading |  |  | EX |  |  |  | 40.78 | 40.94 |  | 40.87 | 40.75 |  |  | 40.67 |  |  | 40.60 |  | 40.60 | 40.67 |
| Model |  |  | Simple |  |  |  |  |  |  |  |  |  | Total height, % |  |  | 60.64 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | E |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Expert name |  |  | Makoed A.G. |  |  |  |  |  |  |  |  |  | Crown height, % |  |  | 14.68 |  |  | 14.52 |  |  |  | 14.77 |  |  |  |  | 0.25 |  |  |  |  | E |  |  | EX |  |  |  | 14.52 | 14.60 |  | 14.63 | 14.76 |  |  | 14.77 |  |  | 14.75 |  | 14.71 | 14.68 |
| Report date |  |  | 07.03.2008 |  |  |  |  |  |  |  |  |  | Pavilion depth, % |  |  | 42.93 |  |  | 42.73 |  |  |  | 43.16 |  |  |  |  | 0.43 |  |  |  |  | N/A |  |  | EX |  |  |  | 43.11 | 43.16 |  | 43.00 | 42.82 |  |  | 42.77 |  |  | 42.73 |  | 42.85 | 42.97 |
| Real weight, ct |  |  |  |  |  |  |  |  |  |  |  |  | Table, % |  |  | 57.36 |  |  | 57.22 |  |  |  | 57.47 |  |  |  |  | 0.25 |  |  |  |  | Grading |  |  | EX |  |  |  | 57.47 | 57.42 |  | 57.34 | 57.22 |  |  |  |  |  |  |  |  |  |
| Calculated weight, ct |  |  | 0.73, 0.7286 |  |  |  |  |  |  |  |  |  | Culet, % |  |  | 0.36 |  |  | 0.32 |  |  |  | 0.39 |  |  |  |  | 0.07 |  |  |  |  | E |  |  | EX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Measurements |  |  | 5.821 (5.817-5.826) x 3.530 /0.004 mm |  |  |  |  |  |  |  |  |  | Girdle Bezel, % |  |  | 3.04 |  |  | 2.88 |  |  |  | 3.16 |  |  |  |  | 0.28 |  |  |  |  | E |  |  | EX |  |  |  | 3.00 | 2.88 |  | 3.03 | 3.06 |  |  | 3.10 |  |  | 3.16 |  | 3.07 | 2.99 |
| Spread |  |  | 0.00 ct, 0.08% |  |  |  |  |  |  |  |  |  | Girdle Bone, % |  |  | 2.94 |  |  | 2.85 |  |  |  | 3.03 |  |  |  |  | 0.18 |  |  |  |  |  |  |  | EX |  |  |  | 2.95 | 2.86 |  | 2.85 | 2.89 |  |  | 3.03 |  |  | 2.99 |  | 2.98 | 3.01 |
| AGS Spread |  |  | N/A ct, N/A% |  |  |  |  |  |  |  |  |  | Girdle Valley, % |  |  | 1.32 |  |  | 1.20 |  |  |  | 1.42 |  |  |  |  | 0.22 |  |  |  |  | E |  |  | EX |  |  |  | 1.40 | 1.20 |  | 1.25 | 1.24 |  |  | 1.32 |  |  | 1.24 |  | 1.32 | 1.33 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.36 | 1.35 |  | 1.42 | 1.34 |  |  | 1.36 |  |  | 1.32 |  | 1.33 | 1.33 |
| Average values, mm |  |  |  |  |  |  |  |  |  |  |  |  | Star: |  |  | 55.99: |  |  | 55.42: |  |  |  | 56.68: |  |  |  |  | 1.26 |  |  |  |  | E |  |  | EX |  |  |  | 56.23: | 55.49: |  | 55.97: | 55.83: |  |  | 55.87: |  |  | 56.41: |  | 56.68: | 55.42: |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Upper ratio, % |  |  | 44.01 |  |  | 44.58 |  |  |  | 43.32 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 43.77 | 44.51 |  | 44.03 | 44.17 |  |  | 44.13 |  |  | 43.59 |  | 43.32 | 44.58 |
| Diam | Total height | Crown height | Pav. depth | Table |  | Culet | Girdle |  |  |  |  |  | Star angle, ° |  |  | 22.81 |  |  | 22.57 |  |  |  | 23.05 |  |  |  |  | 0.48 |  |  |  |  |  |  |  | EX |  |  |  | 22.83 | 22.57 |  | 22.86 | 22.90 |  |  | 22.71 |  |  | 22.94 |  | 23.05 | 22.64 |
|  |  |  |  |  |  |  | Bezel | Bone | Valley |  |  |  | Upper girdle angle, ° |  |  | 42.39 |  |  | 42.04 |  |  |  | 42.76 |  |  |  |  | 0.73 |  |  |  |  |  |  |  | EX |  |  |  | 42.31 | 42.32 |  | 42.26 | 42.11 |  |  | 42.26 |  |  | 42.32 |  | 42.49 | 42.56 |
| 5.821 | 3.530 | 0.854 | 2.499 | 3.339 |  | 0.021 | 0.177 | 0.171 | 0.077 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 42.04 | 42.40 |  | 42.56 | 42.76 |  |  | 42.61 |  |  | 42.64 |  | 42.20 | 42.37 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Length girdle facet, % |  |  | 79.83 |  |  | 78.81 |  |  |  | 80.53 |  |  |  |  | 1.71 |  |  |  |  | E |  |  | EX |  |  |  | 80.07 | 79.32 |  | 79.16 | 79.52 |  |  | 79.27 |  |  | 80.18 |  | 78.81 | 79.71 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 79.71 | 80.43 |  | 80.45 | 80.25 |  |  | 80.53 |  |  | 79.87 |  | 80.15 | 79.92 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Lower girdle angle / Halves angle, ° |  |  | 41.82 |  |  | 41.65 |  |  |  | 42.02 |  |  |  |  | 0.38 |  |  |  |  |  |  |  | EX |  |  |  | 41.86 | 42.00 |  | 42.02 | 41.98 |  |  | 41.93 |  |  | 41.90 |  | 41.83 | 41.78 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 41.80 | 41.74 |  | 41.65 | 41.66 |  |  | 41.70 |  |  | 41.72 |  | 41.78 | 41.84 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Twist, ° |  |  | 0.23 |  |  | 0.04 |  |  |  | 0.43 |  |  |  |  | 0.39 |  |  |  |  |  |  |  | EX |  |  |  | 0.28 | 0.08 |  | 0.23 | 0.43 |  |  | 0.04 |  |  | 0.25 |  | 0.18 | 0.35 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Crown height, mm |  |  | 0.854 |  |  | 0.845 |  |  |  | 0.860 |  |  |  |  | 0.015 |  |  |  |  | E |  |  | EX |  |  |  | 0.845 | 0.850 |  | 0.851 | 0.859 |  |  | 0.860 |  |  | 0.858 |  | 0.857 | 0.854 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion depth, mm |  |  | 2.499 |  |  | 2.487 |  |  |  | 2.512 |  |  |  |  | 0.025 |  |  |  |  | N/A |  |  | EX |  |  |  | 2.509 | 2.512 |  | 2.503 | 2.492 |  |  | 2.490 |  |  | 2.487 |  | 2.494 | 2.501 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Table, mm |  |  | 3.339 |  |  | 3.331 |  |  |  | 3.345 |  |  |  |  | 0.015 |  |  |  |  | Grading |  |  | EX |  |  |  | 3.345 | 3.342 |  | 3.338 | 3.331 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Culet, mm |  |  | 0.021 |  |  | 0.018 |  |  |  | 0.023 |  |  |  |  | 0.004 |  |  |  |  | E |  |  | EX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle Bezel, mm |  |  | 0.177 |  |  | 0.167 |  |  |  | 0.184 |  |  |  |  | 0.016 |  |  |  |  | E |  |  | EX |  |  |  | 0.175 | 0.167 |  | 0.176 | 0.178 |  |  | 0.180 |  |  | 0.184 |  | 0.179 | 0.174 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle Bone, mm |  |  | 0.171 |  |  | 0.166 |  |  |  | 0.176 |  |  |  |  | 0.010 |  |  |  |  |  |  |  | EX |  |  |  | 0.171 | 0.167 |  | 0.166 | 0.168 |  |  | 0.176 |  |  | 0.174 |  | 0.173 | 0.175 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle Valley, mm |  |  | 0.077 |  |  | 0.070 |  |  |  | 0.082 |  |  |  |  | 0.013 |  |  |  |  | E |  |  | EX |  |  |  | 0.082 | 0.070 |  | 0.073 | 0.072 |  |  | 0.077 |  |  | 0.072 |  | 0.077 | 0.077 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0.079 | 0.079 |  | 0.082 | 0.078 |  |  | 0.079 |  |  | 0.077 |  | 0.077 | 0.078 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Measurement as per OctoNus theory: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Crown angle, ° |  |  | 34.55 |  |  | 34.51 |  |  |  | 34.57 |  |  |  |  | 0.06 |  |  |  |  |  |  |  |  |  |  |  | 34.57 | 34.55 |  | 34.51 | 34.57 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion angle, ° |  |  | 40.73 |  |  | 40.71 |  |  |  | 40.77 |  |  |  |  | 0.06 |  |  |  |  |  |  |  |  |  |  |  | 40.72 | 40.77 |  | 40.73 | 40.71 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Fish eye effect, ° |  |  |  |  |  |  |  |  |  |  | 7.73 |  |  |  |  |  |  |  |  | N/A |  |  |  |  |  |  | Extra Facet / Nat |  |  |  |  | No |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Culet through Crown Bezel, ° |  |  |  |  |  |  |  |  |  |  | 11.66 |  |  |  |  |  |  |  |  | N/A |  |  |  |  |  |  | Girdle to MIC, mm |  |  |  |  | 0.004 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Parameter, ° |  |  |  |  | 1 |  |  | 2 |  |  |  |  | 3 | 4 |  |  |  | 5 |  |  | 6 | 7 |  | 8 |  |  | Paint / Dug |  | Avg |  |  |  | Type |  |  | Sym |  | Dev |  | Sym |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Pav. azimuths dev. from ideal |  |  |  |  | 0.00 |  |  | -0.00 |  |  |  |  | -0.15 | -0.33 |  |  |  | -0.07 |  |  | 0.04 | 0.02 |  | 0.02 |  |  | Crown, ° |  | 0.20 |  |  |  |  |  |  | EX |  | 0.72 |  | EX |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Crown azimuths dev. from ideal |  |  |  |  | -0.28 |  |  | 0.07 |  |  |  |  | 0.08 | 0.11 |  |  |  | -0.02 |  |  | 0.29 | 0.20 |  | -0.33 |  |  | Crown, notch. |  | 0.1, Negligible |  |  |  |  |  |  |  |  | 0.2 |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Crown painting |  |  |  |  | 0.57 |  |  | -0.04 |  |  |  |  | 0.52 | -0.24 |  |  |  | 0.72 |  |  | 0.05 | 0.35 |  | 0.44 |  |  | Pavilion, ° |  | 0.02 |  |  |  |  |  |  | EX |  | 0.40 |  | EX |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | -0.28 |  |  | 0.15 |  |  |  |  | 0.06 | 0.54 |  |  |  | 0.02 |  |  | 0.05 | 0.12 |  | 0.09 |  |  | Pavilion, notch. |  | 0.0, Negligible |  |  |  |  |  |  |  |  | 0.1 |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion painting |  |  |  |  | -0.03 |  |  | -0.14 |  |  |  |  | -0.12 | -0.18 |  |  |  | 0.17 |  |  | 0.05 | 0.30 |  | 0.14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0.26 |  |  | 0.40 |  |  |  |  | -0.03 | -0.18 |  |  |  | 0.10 |  |  | -0.00 | -0.12 |  | -0.32 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Appraiser title |  |  |  |  | GIA_PCTG_StarCul |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Overall cut quality |  |  |  |  | E |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Symmetry appraiser title |  |  |  |  | Internal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Overall symmetry quality |  |  |  |  | EX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Color |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clarity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle center |  |  |  |  |  |  | Culet center |  |  |  |  |  |  |  |  |  | Тable center |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Polish |  |  |  |  |  |  |  |  |  |  |  |  | Offset by table axis |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle-Culet |  |  |  | 0.14 ± 0.22, % |  |  |  |  |  |  |  |  |  |  |  |  | 0.008 ± 0.013, mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fluorescence |  |  |  |  |  |  |  |  |  |  |  |  | Girdle-Table |  |  |  | 0.16 ± 0.20, % |  |  |  |  |  |  |  |  |  |  |  |  | 0.009 ± 0.011, mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Table-Culet |  |  |  | 0.24 ± 0.23, % |  |  |  |  |  |  |  |  |  |  |  |  | 0.014 ± 0.014, mm |  |  |  |  |  |  |  |  |  | Girdle to table-culet line offset |  |  |  |  |  |  |  | 0.11 %, 0.007 mm |  |  |  |  |  |