| # ILLUSTRATED REPORT FOR BRILLIANT |  |  |  |  |  |  |  |  |  |  |  |  | Parameter |  |  | Avg |  |  | Min |  |  |  | Max |  |  |  |  | Dev |  |  |  |  | Cut |  |  | Sym |  |  |  | 1 | 2 |  | 3 | 4 |  |  | 5 |  | 6 |  | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Polished Brilliant |  |  |  |  |  |  |  |  | 02.08.2008 |  |  |  | Diameter, mm |  |  | 5.764 |  |  | 5.749 |  |  |  | 5.771 |  |  |  |  | 0.37% |  |  |  |  | E |  |  | EX |  |  |  | 5.764 | 5.766 |  | 5.767 | 5.755 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Crown angle, ° |  |  | 37.32 |  |  | 37.14 |  |  |  | 37.42 |  |  |  |  | 0.28 |  |  |  |  | Grading |  |  | EX |  |  |  | 37.20 | 37.14 |  | 37.42 | 37.30 |  |  | 37.40 |  | 37.39 |  | 37.25 | 37.42 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion angle, ° |  |  | 40.62 |  |  | 40.57 |  |  |  | 40.72 |  |  |  |  | 0.15 |  |  |  |  | Grading |  |  | EX |  |  |  | 40.65 | 40.72 |  | 40.63 | 40.59 |  |  | 40.61 |  | 40.57 |  | 40.64 | 40.59 |
| Model |  |  |  | Simple |  |  |  |  |  |  |  |  | Total height, % |  |  | 61.91 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | E |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Expert name |  |  |  | Makoed A.G. |  |  |  |  |  |  |  |  | Crown height, % |  |  | 16.34 |  |  | 16.24 |  |  |  | 16.50 |  |  |  |  | 0.26 |  |  |  |  | E |  |  | EX |  |  |  | 16.50 | 16.41 |  | 16.35 | 16.29 |  |  | 16.25 |  | 16.39 |  | 16.31 | 16.24 |
| Real weight, ct |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion depth, % |  |  | 42.76 |  |  | 42.47 |  |  |  | 42.89 |  |  |  |  | 0.42 |  |  |  |  | N/A |  |  | EX |  |  |  | 42.71 | 42.89 |  | 42.81 | 42.83 |  |  | 42.83 |  | 42.79 |  | 42.78 | 42.47 |
| Calculated weight, ct |  |  |  | 0.73, 0.7328 |  |  |  |  |  |  |  |  | Table, % |  |  | 57.15 |  |  | 57.05 |  |  |  | 57.25 |  |  |  |  | 0.20 |  |  |  |  | Grading |  |  | EX |  |  |  | 57.09 | 57.05 |  | 57.23 | 57.25 |  |  |  |  |  |  |  |  |
| Measurements |  |  |  | 5.764 (5.749 -5.771) x 3.568 /0.002 mm |  |  |  |  |  |  |  |  | Culet, % |  |  | 0.35 |  |  | 0.29 |  |  |  | 0.37 |  |  |  |  | 0.08 |  |  |  |  | E |  |  | EX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Spread |  |  |  | -0.02 ct, -2.88 % |  |  |  |  |  |  |  |  | Girdle Bezel, % |  |  | 2.80 |  |  | 2.60 |  |  |  | 3.20 |  |  |  |  | 0.60 |  |  |  |  | E |  |  | EX |  |  |  | 2.70 | 2.60 |  | 2.74 | 2.79 |  |  | 2.83 |  | 2.73 |  | 2.82 | 3.20 |
| AGS Spread |  |  |  | N/A ct, N/A % |  |  |  |  |  |  |  |  | Girdle Bone, % |  |  | 2.80 |  |  | 2.50 |  |  |  | 3.02 |  |  |  |  | 0.52 |  |  |  |  |  |  |  | EX |  |  |  | 2.50 | 2.85 |  | 2.81 | 2.83 |  |  | 3.02 |  | 2.72 |  | 2.85 | 2.80 |
| Extra Facet / Nat |  |  |  | No |  |  |  |  |  |  |  |  | Girdle Valley, % |  |  | 1.02 |  |  | 0.73 |  |  |  | 1.21 |  |  |  |  | 0.48 |  |  |  |  | E |  |  | EX |  |  |  | 0.87 | 0.73 |  | 1.05 | 1.08 |  |  | 1.01 |  | 1.04 |  | 1.00 | 0.89 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.10 | 1.12 |  | 1.01 | 0.99 |  |  | 1.06 |  | 1.21 |  | 1.09 | 1.06 |
| Width |  | Length | Ratio (L/W) |  | Diameter Minimum |  | Diameter Maximum | Diameter Average |  | Total height |  |  | Star: |  |  | 55.26: |  |  | 54.32: |  |  |  | 56.27: |  |  |  |  | 1.95 |  |  |  |  | E |  |  | EX |  |  |  | 55.58: | 55.06: |  | 56.27: | 55.68: |  |  | 54.32: |  | 54.58: |  | 55.92: | 54.64: |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Upper ratio, % |  |  | 44.74 |  |  | 45.68 |  |  |  | 43.73 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 44.42 | 44.94 |  | 43.73 | 44.32 |  |  | 45.68 |  | 45.42 |  | 44.08 | 45.36 |
| 5.749 mm |  | 5.771 mm | 1.004 |  | 5.749 mm |  | 5.771 mm | 5.764 mm |  | 3.568 mm |  |  | Star angle, ° |  |  | 24.83 |  |  | 24.51 |  |  |  | 25.25 |  |  |  |  | 0.74 |  |  |  |  |  |  |  | EX |  |  |  | 24.59 | 25.20 |  | 24.81 | 24.70 |  |  | 24.85 |  | 24.72 |  | 25.25 | 24.51 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Upper girdle angle, ° |  |  | 44.87 |  |  | 44.42 |  |  |  | 45.47 |  |  |  |  | 1.05 |  |  |  |  |  |  |  | VG |  |  |  | 45.01 | 45.47 |  | 44.47 | 44.58 |  |  | 45.17 |  | 45.16 |  | 45.01 | 45.31 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 44.53 | 44.46 |  | 44.51 | 44.66 |  |  | 45.26 |  | 44.93 |  | 45.01 | 44.42 |
| Crown height |  | Pavilion depth | Table |  | Culet |  | Girdle |  |  |  |  |  | Length girdle facet, % |  |  | 61.97 |  |  | 60.94 |  |  |  | 62.66 |  |  |  |  | 1.72 |  |  |  |  | G |  |  | EX |  |  |  | 62.47 | 62.11 |  | 61.16 | 61.52 |  |  | 62.35 |  | 62.35 |  | 62.66 | 62.01 |
|  |  |  |  |  |  |  | Bezel | Bone |  | Valley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 61.75 | 62.53 |  | 62.63 | 62.07 |  |  | 60.94 |  | 61.25 |  | 61.80 | 61.92 |
| 0.942 mm |  | 2.465 mm | 3.295 mm |  | 0.020 mm |  | 0.161 mm | 0.161 mm |  | 0.059 mm |  |  | Lower girdle angle / Halves angle, ° |  |  | 42.49 |  |  | 42.35 |  |  |  | 42.60 |  |  |  |  | 0.25 |  |  |  |  |  |  |  | EX |  |  |  | 42.50 | 42.60 |  | 42.53 | 42.45 |  |  | 42.43 |  | 42.45 |  | 42.40 | 42.46 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 42.42 | 42.35 |  | 42.52 | 42.56 |  |  | 42.55 |  | 42.58 |  | 42.48 | 42.49 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Twist, ° |  |  | 0.26 |  |  | 0.02 |  |  |  | 0.53 |  |  |  |  | 0.51 |  |  |  |  |  |  |  | EX |  |  |  | 0.21 | 0.47 |  | 0.02 | 0.10 |  |  | 0.45 |  | 0.21 |  | 0.10 | 0.53 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Crown height, mm |  |  | 0.942 |  |  | 0.936 |  |  |  | 0.951 |  |  |  |  | 0.015 |  |  |  |  | E |  |  | EX |  |  |  | 0.951 | 0.946 |  | 0.943 | 0.939 |  |  | 0.936 |  | 0.945 |  | 0.940 | 0.936 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion depth, mm |  |  | 2.465 |  |  | 2.448 |  |  |  | 2.472 |  |  |  |  | 0.024 |  |  |  |  | N/A |  |  | EX |  |  |  | 2.462 | 2.472 |  | 2.468 | 2.469 |  |  | 2.469 |  | 2.467 |  | 2.466 | 2.448 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Table, mm |  |  | 3.295 |  |  | 3.289 |  |  |  | 3.300 |  |  |  |  | 0.011 |  |  |  |  | Grading |  |  | EX |  |  |  | 3.291 | 3.289 |  | 3.299 | 3.300 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Culet, mm |  |  | 0.020 |  |  | 0.017 |  |  |  | 0.021 |  |  |  |  | 0.004 |  |  |  |  | E |  |  | EX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle Bezel, mm |  |  | 0.161 |  |  | 0.150 |  |  |  | 0.184 |  |  |  |  | 0.034 |  |  |  |  | E |  |  | EX |  |  |  | 0.156 | 0.150 |  | 0.158 | 0.161 |  |  | 0.163 |  | 0.157 |  | 0.163 | 0.184 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle Bone, mm |  |  | 0.161 |  |  | 0.144 |  |  |  | 0.174 |  |  |  |  | 0.030 |  |  |  |  |  |  |  | EX |  |  |  | 0.144 | 0.164 |  | 0.162 | 0.163 |  |  | 0.174 |  | 0.157 |  | 0.164 | 0.161 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle Valley, mm |  |  | 0.059 |  |  | 0.042 |  |  |  | 0.070 |  |  |  |  | 0.028 |  |  |  |  | E |  |  | EX |  |  |  | 0.050 | 0.042 |  | 0.061 | 0.062 |  |  | 0.058 |  | 0.060 |  | 0.058 | 0.051 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0.064 | 0.064 |  | 0.058 | 0.057 |  |  | 0.061 |  | 0.070 |  | 0.063 | 0.061 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Measurement as per OctoNus theory: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Crown angle, ° |  |  | 37.32 |  |  | 37.27 |  |  |  | 37.36 |  |  |  |  | 0.09 |  |  |  |  |  |  |  |  |  |  |  | 37.30 | 37.27 |  | 37.34 | 37.36 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion angle, ° |  |  | 40.62 |  |  | 40.59 |  |  |  | 40.64 |  |  |  |  | 0.05 |  |  |  |  |  |  |  |  |  |  |  | 40.63 | 40.64 |  | 40.63 | 40.59 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Fish eye effect, ° |  |  |  |  |  |  |  |  |  |  | 7.31 |  |  |  |  |  |  |  |  | N/A |  |  |  |  |  |  | MIC, mm |  |  |  |  | 5.747 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Culet through Crown Bezel, ° |  |  |  |  |  |  |  |  |  |  | 5.58 |  |  |  |  |  |  |  |  | N/A |  |  |  |  |  |  | Girdle to MIC, mm |  |  |  |  | 0.002 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Parameter, ° |  |  |  | 1 |  |  |  | 2 |  |  |  |  | 3 | 4 |  |  | 5 |  |  |  | 6 | 7 |  | 8 |  |  | Paint / Dug |  | Avg |  |  |  | Type |  | Sym |  | Dev |  | Sym |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Pav. azimuths dev. from ideal |  |  |  | 0.00 |  |  |  | -0.18 |  |  |  |  | -0.39 | -0.34 |  |  | -0.33 |  |  |  | -0.27 | -0.06 |  | 0.49 |  |  | Crown, ° |  | -0.16 |  |  |  |  |  | EX |  | 0.88 |  | EX |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Crown azimuths dev. from ideal |  |  |  | 0.21 |  |  |  | 0.28 |  |  |  |  | -0.41 | -0.23 |  |  | 0.11 |  |  |  | -0.06 | -0.15 |  | -0.05 |  |  | Crown, notch. |  | 0.0, Negligible |  |  |  |  |  |  |  | 0.2 |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Crown painting |  |  |  | -0.10 |  |  |  | 0.88 |  |  |  |  | -0.51 | -0.35 |  |  | -0.19 |  |  |  | 0.03 | -0.34 |  | 0.32 |  |  | Pavilion, ° |  | -0.00 |  |  |  |  |  | EX |  | 0.77 |  | EX |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | -0.68 |  |  |  | -0.68 |  |  |  |  | -0.24 | -0.46 |  |  | 0.33 |  |  |  | -0.47 | 0.16 |  | -0.29 |  |  | Pavilion, notch. |  | 0.0, Negligible |  |  |  |  |  |  |  | 0.2 |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Pavilion painting |  |  |  | 0.02 |  |  |  | -0.21 |  |  |  |  | -0.18 | -0.27 |  |  | -0.05 |  |  |  | 0.13 | -0.31 |  | 0.07 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | -0.19 |  |  |  | -0.22 |  |  |  |  | 0.50 | 0.17 |  |  | 0.14 |  |  |  | 0.77 | -0.33 |  | -0.08 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Appraiser title |  |  |  |  |  | GIA_PCTG_StarCul |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Overall cut quality |  |  |  |  |  | G |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Symmetry appraiser title |  |  |  |  |  | Internal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Overall symmetry quality |  |  |  |  |  | VG |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Color |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clarity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle center |  |  |  |  |  |  | Culet center |  |  |  |  |  |  |  |  |  | Тable center |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Polish |  |  |  |  |  |  |  |  |  |  |  |  | Girdle-Culet offset by table axis |  |  |  |  | 0.24 ± 0.22, % |  |  |  |  |  |  |  |  |  |  |  |  | 0.014 ± 0.013, mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle-Table offset by table axis |  |  |  |  | 0.11 ± 0.20, % |  |  |  |  |  |  |  |  |  |  |  |  | 0.006 ± 0.011, mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fluorescence |  |  |  |  |  |  |  |  |  |  |  |  | Table-Culet offset by table axis |  |  |  |  | 0.28 ± 0.24, % |  |  |  |  |  |  |  |  |  |  |  |  | 0.016 ± 0.014, mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Girdle to table-culet line offset |  |  |  |  | 0.09 %, 0.005 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |