| # HELIUM STANDARD REPORT |  | # Polished Brilliant |
| --- | --- | --- |
| ## General information |  |  |
| Model | Simple |  |
| Expert name | Makoed A.G. |  |
| Report date | 07.07.2007 |  |
| Real weight, ct |  |  |
| Calculated weight, ct | 0.54, 0.5484 |  |
| Appraiser title | AGS_2005 |  |
| Overall cut quality | 2 |  |
| Symmetry appraiser title | Internal |  |
| Overall symmetry quality | GD |  |
| Spread | 0.01 ct, 1.33% |  |
| AGS Spread | 0.01 ct, 1.01% |  |

## Main parameters

| Parameter |  | Avg | Min | Max | Dev | Cut | Sym |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Diameter | mm | 5.287 | 5.277 | 5.296 | 0.36 % | N/A | EX |
| Crown angle | ° | 34.02 | 33.45 | 34.23 | 0.78 | Grading | VG |
| Crown height | % | 15.38 | 15.06 | 15.68 | 0.62 | N/A | EX |
| Pavilion angle | ° | 40.56 | 40.44 | 40.66 | 0.21 | Grading | EX |
| Pavilion depth | % | 42.46 | 41.89 | 42.83 | 0.94 | N/A | VG |
| Upper girdle facets angle | ° | 39.50 | 38.20 | 40.74 | 2.54 |  | GD |
| Star facets angle | ° | 21.96 | 21.31 | 22.26 | 0.95 |  | EX |
| Star : Upper ratio | % | 49.52 : 50.48 | 47.88 : 52.12 | 50.88: 49.12 | 3.00 | N/A | VG |
| Lower girdle facets angle | ° | 41.69 | 41.50 | 42.35 | 0.85 |  | EX |
| Total height | % | 60.97 |  |  |  | N/A |  |
| Table | % | 54.40 | 53.99 | 54.72 | 0.73 | Grading | EX |
| Culet | % | 2.44 | 2.09 | 2.90 | 0.81 | 1 | EX |
| Twist | ° | 0.71 | 0.05 | 1.73 | 1.68 |  | VG |
| Girdle thickness: Bezel | % | 3.11 | 2.78 | 3.35 | 0.57 | 0 | EX |
| Girdle thickness: Bone | % | 3.33 | 2.98 | 3.76 | 0.78 |  | VG |
| Girdle thickness: Valley | % | 1.68 | 1.26 | 1.99 | 0.74 | 0 | EX |

|  | Diameter | C-Height | P-Depth | Table | Culet | G-Bezel | G-Bone | G-Value |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Average value, mm | 5.287 | 0.813 | 2.245 | 2.876 | 0.129 | 0.164 | 0.176 | 0.089 |